#### New Home

#### Maintenance

#### Guide

#### While we do not imply that this manual is a definitive guide to maintenance, we believe that if you follow these suggestions as a minimum, you will enjoy many trouble free years in your home.

#### Effects of Weather and Temperature

Natural building materials such as wood and concrete are subjected to constant expansion and contraction from day to day. Temperature variations, which can be extreme, can result in warping of wood materials and cracking of drywall, stucco, concrete and mortar. These effects are particularly obvious in the first two years after a home has been built.

You can minimize these effects by maintaining a constant temperature in your home during the first two years. This allows the wood to dry at an even rate and may eliminate larger settlement cracks. Minor cracks and displacement of wood are a normal part of the aging process of your home and do not affect its structural integrity.

Freezing weather can cause numerous problems in a home. Freezing ground can raise and crack concrete and landscape improvements, which will move again after the ground thaws. You should take care to properly “winterize” your home’s exterior and garage areas, including water lines, irrigation lines, etc.

#### Condensation

Condensation is normal in a new home because many gallons of water were used in its construction. This water causes higher than normal humidity until the drying process is complete. When condensation appears on a cool pipe or on glass surfaces, it may give the false impression that you have leaks.

Excessive condensation or sweating on cool surfaces can be eliminated by making sure attic louvers and crawl spaces are clear of debris. Open windows can aid the home drying process, but it takes time. Avoid speeding up the process by using excessive heat. You should use a constant thermostat temperature.

#### Settlement

All homes settle to some degree. Some adjustment in lumber and framing is normal and should be expected.

If the finish trim shows slight joint separation, fill the cracks with wood filler. If nails work out of position, reset them with a hammer and nailset; then fill the holes with wood filler or spackle. Normal settling, expansion and contraction also may cause small interior wall cracks around doorways, archways and at wallboard joints as well as minor cracking of exterior stucco (particularly at stress joints such as window or door corners.).

It is best to wait until at least the end of your first year of occupancy before repainting minor cracks until most of the settling and shrinkage is complete.

#### Appliances

Appliances are warranted by their manufacturers, in accordance with the terms and conditions of the written warranties supplied by the manufacturers. These manufacturers' warranties, as well as any maintenance and preventative maintenance procedures provided by these manufacturers, have been provided to you in conjunction with the purchase of your home, and should be read and preserved for reference. Additional information about appliance operating can be found in the "Electrical" and "Plumbing" sections of this Manual.

- If a problem arises with an appliance, call the Warranty Service number listed in the manufacturer's warranty. When reporting warranty items to the appliance manufacturer, be prepared to supply:

  - The date of purchase (closing or move-in date, whichever occurred first);

  - The serial and model numbers (found on a metal plate on side, back or bottom of appliance);

  - A description of the problem.

- Black "glass" panels on appliances are usually plastic and should be cleaned with mild detergent and water. Abrasive cleansers will damage the finish.

- Dishwasher

  - Effective use of the dishwasher depends on proper loading, correct water temperature, and chemical content of the water. Experiment with several different dishwasher detergents to find the one that works best. Use each brand for a week to allow it to condition your dishes.

  - Experiment with varying amounts of detergent to determine its effectiveness with the water in your area. If you find that your dishes still are not being cleaned properly, check the manufacturer's manual.

  - Before operating the dishwasher, be certain the garbage disposal (if applicable) is empty since the dishwasher drains into the disposal.

  - Failure to do so may plug up the dishwasher drain and cause water to spray out the air gap located on top of the kitchen sink.

- Water Heater. See "Plumbing" section of this Manual.

- Garbage Disposal.

1.	Read and follow the manufacturer's instructions for proper operation of your garbage disposal. Do not load the disposal with food items before turning it on. For proper operation, turn on the cold water and start the disposal. Then, drop the food items slowly into the unit. When the unit sounds clear, turn the disposal off and leave the water running for several seconds. This allows the food waste to be carried into your sewer lines.

2.	Replace stopper when disposal is not is use. This allows water to drain but prevent tableware or other objects from dropping into the disposal accidentally. The stopper can be pushed down for filling the sink.

3.	Bones, corn cobs, celery, onion, stringy vegetables, rice, shellfish, and other hard objects or fibrous foods should not be disposed of in the disposal. Large, bulky food waste should be cut up. This includes such items as melon rinds and grapefruit skins.

4.	Bottle caps, hairpins, glass, rags, metal, paper, and other non-food items will jam the disposal and harm the blades.

5.	Never feed food waste into the disposal without first turning on the cold water and the disposal. Cold water helps keep the motor cool and works best if grease is put down the disposal. It will congeal the grease, allowing it to be cut up by the blades.

6.	Keep the disposal clean by allowing cold water to run a minimum of 15 seconds after all food has been disposed. Do not use caustic drain cleaners or any harsh chemicals in the disposal under any circumstances. Occasionally clean and freshen the disposal by grinding a dozen ice cubes or a half of a lemon, cut into small pieces.

7.	If the disposal jams, refer to the manufacturer's manual for instructions on freeing it. Always be certain it is turned off before any work is done to free a jam.

#### Asphalt

A few simple tips will prolong the life and durability of asphalt paving. Small indentations and uneven areas are normal for this material. Avoid causing large indentations, by keeping heavy trucks off. Be especially careful of bicycle kickstands, which can dig into the surface. Spilled gasoline or oil should be cleaned up with kitty litter or other absorbent material and disposed of properly, since it is injurious to asphalt.

#### Attic Access

The attic space is not intended for storage. Access is provided for purposes of maintaining mechanical equipment that may traverse the attic space. When performing any needed tasks in the attic, caution should be used not to step off wood members onto the dry wall. This will result in damage to the ceiling below, and could cause severe personal injury. The attic space is not engineered for heavy loads.

#### Balconies And Decks

Your home may feature balconies and decks. Do not install heavy equipment or nail anything to balcony or deck. The hole caused by the installation could allow water to enter your home and cause damage. The damage is your responsibility.

The flat surface of your deck will require periodic application of a sealant to prevent water penetration and to maintain its durability. A builder's supply, home center or hardware store can recommend a sealant.

If your balcony or deck has roof drains, they should be kept free of debris. This allows proper water flow from the balcony or deck. After rain, water may stand in small puddles for a short time before evaporating. This is to be expected of any flat surface and is normal.

If you place plants on your balcony, make certain that drainage from the plants does not accumulate on the floor of the balcony. Water can be trapped under potted plants and trays on your balcony or deck, which can deteriorate the balcony or deck surface.

Consult a licensed contractor, before you consider making any structural or cosmetic changes to your balcony or deck.

#### Basements

If your home includes a basement, your basement foundation walls are generally treated on their exterior surfaces with materials designed to minimize dampness on the interior basement walls. However, during periods of excessive moisture, some dampness may nonetheless occur. Over time, natural compaction of the soils in the backfill areas adjacent to the basement foundation walls will help minimize such dampness. Careful maintenance of exterior drainage and of the foundation drain/sump pump systems will also help minimize dampness. Regular and close observation of dampness conditions is important to help avoid water-related problems such as mold and/or incidental and consequential damages to personal property.

Additional sealers for interior walls are available from professional painters or waterproofing contractors, and may be carried by hardware stores. Homeowners should carefully review the manufacturer product information and use/installation instructions before using such products, to confirm they are compatible with the building materials used in the home and with the homeowner’s use of the basement.

#### Baths

- Ceramic Tile: See the Ceramic Tile section of this Manual

- Fittings: Your plumbing fittings are designed to stay new-looking with minimum effort. Avoid abrasive cleaners. Clean with a soft, damp cloth followed by a brisk polishing with a clean, dry cloth.

- Tubs, Showers and Surrounds/Enclosures: Given proper care, the smooth surface of a fiberglass tub or shower will remain beautiful and easy to clean. As with any highly polished surface, regular care and no abrasives are the main rules to follow. Normal cleaning should be done with any liquid cleaner, detergent or foaming cleanser. Alcohol used as a cleaning agent may cause discoloration. Stubborn stains can be removed with various appropriate household cleaning agents used with a nylon-scouring pad. Never use metal scrapers or similar tools.

- Poreclain: The delicate beauty and gloss of porcelain bathtubs and sinks are easily maintained by observing a basic rule: never use abrasive cleaners. They scratch through the glass-like surfaces quickly. Liquid dishwashing detergent on a moist cloth is preferred. Although porcelain is durable, be careful not to drop heavy articles on it that can cause chipping. Should scratching or chipping occur, contact a porcelain repair business.

- Simulated Marble: This material, found in many homes, is easy to keep clean, and is far more resistant than natural marble to alcohol, food, acids, common household liquids and boiling water. Again, harsh abrasives should be avoided. Soap and water or common cleaning solvents would eliminate most stubborn stains. Liquid waxes will maintain a higher luster, but avoid paste waxes that may cause yellowing. Be careful not to drop heavy or sharp objects on simulated marble and to avoid scratching or chipping, just as with natural marble. Should scratching or chipping occur, contact a simulated marble repair business.

- Caulking: See the Caulking Section of this Manual.

- Safey Tips: It is possible to be accidentally locked into the bathroom. Keep the door key in a safe open place outside the bath, but nearby. If you lose it, a small screwdriver, ice pick, or similar tool can be used.

#### Cabinets

Your cabinets are made of finished hardwoods or laminated vinyl materials. To maintain the beauty and utility of your cabinets, proper care is required. Remove splashes and splatters promptly to avoid permanent stains. The beauty of the wood can be preserved by polishing with a furniture polish. Laminated cabinets require little care but can be protected with a light coating of suitable wax. Do not wash laminated cabinets with water or water-based cleaners.

The wood in your cabinets is a natural product. Some fading of the original color will occur. Minor scratches can be covered with a putty stick that matches the finish of your cabinets. Putty sticks can be purchased at paint or hardware stores. Do not use abrasives on the finish of your cabinets. Direct sunlight can cause fading of the original color. Consider using window coverings to prevent direct sun on cabinets.

The hinges on your cabinet doors can be lubricated, if necessary, with an oil-based lubricant. Apply a very small drop of oil to the top of the hinge and work the door back and forth several times so the oil will penetrate into the hinge. Wipe the excess oil with a dry paper towel.

#### Caulking

Over time, and particularly during warm, dry weather, caulking will dry and shrink. When this happens, it no longer provides a good seal against moisture. As part of your routine maintenance, you should inspect the caulking around your windows, doors, sinks, showers, tubs, countertops, and ceramic tile, and should make any necessary repairs to the caulking every six (6) months or as needed. Caulking guns and applicator tubes, disposable caulking guns, and caulking compounds are available at hardware stores and home centers.

#### Ceilings

The ceilings in your home require occasional cleaning and periodic painting. Remove dust or cobwebs as part of your routine cleaning. When needed and as a part of your regular maintenance, you may want to repaint your ceiling.

If your ceiling consists of luminous light fixtures, you should follow these tips. Do not use cleaning solvents or other strong chemicals on the plastic panels or aluminum grid. We recommend that you wash the panels in a mild solution of dish-washing liquid and water. Use a soft cloth to wipe the grids using only warm water. Towel dry the panels and grids to remove any soap residue and water spotting.

#### Concrete

Concrete is a major structural material in your home. It provides strength and durability for the foundation. Your concrete requires minimal care. It should be kept free of accumulated dirt and debris. Oil and grease stains and standing water should be removed. Concrete cleaners are available at home centers and hardware stores.

Due to possible extremes of weather, temperature and moisture and to the nature of concrete, masonry and stucco, it is normal for concrete to shrink and expand. This will result in normal, hairline cracks on the surface which are characteristic of concrete and which do not affect the strength, performance or purpose of the concrete, masonry or stucco.

Homeowners should ensure that they are re-sealing their exterior concrete at least once in every 12 month period to provide added protection of surfaces.

#### Exterior Concrete Flatwork

The driveways and walkways in your home are designed for residential use. For your own protection, do not allow moving vans, lumber, concrete, landscaping and pool trucks, etc. to make use of your driveway.

Remove plant growth from the expansion joints when it appears. Left to grow, the roots of small plants expand and could crack or otherwise damage your concrete. If this happens, obtain patching cement from a hardware store or home center and follow the directions on the package for proper repair. Patches in concrete will vary in color from the original material. This is normal and cannot be avoided.

Top soil, fertilizer and other chemical treatments for lawn care can discolor concrete and should be swept off immediately.

Do not run water, or allow puddles to occur, near concrete foundations, fences, walls, walks and driveways. Water can cause soil expansion and infiltration. Reactions to chemicals such as sulfates can cause concrete to fracture or deteriorate.

#### Foundation Slabs

By maintaining good drainage away from your home, you are protecting your home's foundation and the slabs. Maintenance of drainage away from all concrete slabs will minimize cracking and other forms of movement. Cracks in slabs should be sealed with a waterproof concrete caulk to prevent moisture from penetrating to the soil beneath.

#### Structural Floors

Structural floors and crawlspaces create unique maintenance obligations, and increased maintenance responsibilities and costs (such as for utilities, maintenance, repairs, upkeep, etc.). Structural floors and crawlspaces require periodic inspections and replacement of devices designed to extract moisture, additional energy and utility costs, floor treatments and related expenses. Mold may develop more easily and/or extensively with respect to structural floor and crawlspace areas. Homeowners with structural floors and crawlspaces must diligently comply the mold prevention obligations stated elsewhere in this Manual.

#### Condensation

Condensation is normal in a new home because many gallons of water were used during construction in the concrete, paint, etc. This water causes higher than normal humidity until the drying process is complete. When condensation appears on a cool pipe or on glass surfaces, it may give the false impression that you have leaks.

Excessive condensation or sweating on cool surfaces can be eliminated by making sure all attic louvers and crawl spaces are clear of debris or insect nests. Open windows can aid the home drying process; yet it takes time. Avoid speeding up the process by using excessive heat. You should use a constant thermostat temperature of between 68 and 72 degrees.

#### Counter Tops

The counter tops in your kitchen may be constructed of glazed ceramic tile, cultured marble, marble, Formica, granite, limestone or Corian.

Always use a cutting board to protect your counter tops when you prepare food. While minor scratches that can result from cutting food may not be noticeable at first, in time they will dull and mar the luster of the finish. This can happen to even the hardest ceramic tile.

Wipe up spills immediately. Some liquids, particularly hot ones, can cause almost imperceptible stains on ceramic tile grout, Formica and cultured marble. In time, the stains can accumulate and become unsightly.
Be careful to avoid dropping pots and pans and other kitchen items on your counter tops. This can break or chip the counter's surface.

Re-caulk separations that occur around sinks and along the backsplash of countertops, before water can enter into those separations and cause damage. See the "Caulking" section of this Manual, above.

#### Ceramic Tile

Glazed ceramic tile is known for its durability and the variety of colors and designs. Ceramic tiles are purchased in lots that have the same texture and color. Because an exact replacement match of ceramic tile can be impossible, we urge you to take special care to avoid breaking or damaging the ceramic tile on your counter tops.

Ceramic tile is brittle and can be broken by a sharp blow from a heavy object. The best way to avoid broken tiles is to use a cutting board and other protection for your ceramic tiles when you are at work in your kitchen. Wipe spills away promptly to avoid staining the grout. Soapy warm water, a detergent or a commercial tile cleaner can be used to keep your tile clean.

Sealing the grout between your tiles once a year or so will prevent stubborn stains from penetrating the grout and becoming unsightly. Routine scrubbing of the grout with warm soapy water will keep it clean and fresh. Strong cleaners such as Lysol can stain the grout. Sealers and cleaners can be found at your local hardware store. Sealing grout is a homeowner choice and maintenance responsibility.

Minor separation and looseness of ceramic tile grout on tubs, showers, counter tops and flooring, where it is joined with other materials, is inevitable. This is caused by the normal expansion and contraction of materials involved. Grout repairs are routine homeowner maintenance. Repairs of sealed grout may cause color variations.

Tile maintenance is the responsibility of the homeowner. Special care should be taken at ceramic tile areas that are exposed to water such as around bathtubs, showers and on kitchen and bath counter tops. If any grout becomes loose or gaps appear between the tub and the tile, apply a waterproof caulking material to prevent water from migrating behind the tile. If water is allowed to accumulate behind the tile, damage to the walls and to the structure of the home can occur, and mold may develop.

#### Corian

Corian is a durable, man-made product designed especially for use in counter tops. However, it is not impervious to stains and damage, and it requires regular cleaning to maintain its beauty. Corian is susceptible to burns, so do not place a hot pan or a cigarette directly on the counter. As with any surface, it is best to clean up spills immediately. Use non-abrasive cleaners and dry with a soft cloth to enhance the luster.

#### Cultured Marble

Proper maintenance of cultured marble is similar to the maintenance needs of fine wood. Use a cutting board to prevent scratches. Remove spills immediately to avoid stains. Do not use abrasive cleansers or scouring pads. Most food and drinks are acidic and can etch the finish on the marble. Do not place any items which may scratch or burn the surface directly onto the counter top.

Routine care of cultured marble counter tops requires warm water and a soft cloth or sponge. If the surface of your cultured marble counter tops becomes dull, consider having the marble polished by a professional who specializes in marble polishing.

#### Corinthian

Corinthian is a solid surface material, non-gel coated, air free cast-filled polyester. The product is consistent throughout. Corinthian can be cleaned with any good household cleaner, whether abrasive or non-abrasive. Stains which do occur can usually be removed with any abrasive household cleanser and a Scotch-Brite pad. To avoid scratches in the Corinthian surface do not use the product as a cutting board.

#### Granite and Marble

Granite and marble are natural stone products. Knives or sharp objects can scratch these surfaces, and they can be etched by some chemicals or food products. Use cutting boards to avoid scratches. Remove spills immediately to avoid stains. Do not use abrasive cleansers or scouring pads. Most food and drinks are acidic and can etch the finish on the marble. Do not place any items that may scratch or burn the surface directly onto the counter top. Seal granite and marble every 6 to 12 months depending on the use. Obtain sealers and instructions at home centers or tile stores.

#### Doors

Wood Doors
The doors and doorframes in your home are typically made of painted or varnished wood. Wooden doors are subject to expansion and contraction with changes in heat and humidity. The result can be warping and sticking. This is normal and may correct itself as conditions change. You should allow your home to go through at least one dry and damp season before you make other permanent changes.

You can correct most sticking doors by the careful removal of small amounts of wood. Usually, this can be done with sandpaper. In most cases, it is not necessary to remove the door. Use sandpaper to lightly sand the door to remove a small amount of wood at a time until the door no longer sticks. Use touch up paint on the exposed wood promptly.

Planing is a drastic solution. Do it carefully and cautiously otherwise the door may refuse to close properly in drier weather. When the door closes to your satisfaction after planing, seal the raw wood with paint or varnish to reduce the chance of swelling or warping later.

Small cracks may also develop during a dry season and may disappear during wet winter months. If the cracks do not disappear over time, they can be easily filled with wood putty, caulking compound or filler. These materials may be obtained at your local hardware store or home center.

Avoid slamming doors because damage may result. Do not make hasty adjustments on new doors, since the condensation and humidity of a new home will affect them only temporarily. Occasional slight sticking is normal and even desirable for a weather-tight fit. To eliminate minor sticking, try paraffin, candle wax or commercial dry lubricant sticks.

If occasional lock sticking occurs, exterior locks can be easily freed with lubricant sold in most hardware stores. Locks may require adjustments of the strike plate on the door jamb. Remove the strike plate and carefully file the latch opening. Or move the strike plate by moving the screws into new positions.

The hinges and locks on your doors may require lubrication from time to time for proper maintenance and to prevent squeaks. Remove the hinge pin and rub it with a light coating of Vaseline or another petroleum jelly (we do not recommend using oil because it accumulates dust), replace the pin (and wipe off any excess), and then swing the door back and forth a few times.

Doorknobs that are used frequently can become loose. As soon as you notice such a condition, tighten any screws on the doorknob that are loose.

The shrinkage of insert panels in doors, showing raw wood edges is not uncommon due to temperature and humidity changes and can be corrected by repainting after the movement has stabilized.

Metal Doors
Metal doors require paint touch up but usually require little other care. Observe the lower edge of metal doors to inspect for rust. Remove the cause of the rust where possible and any rust stains, and use touch up paint to cover the exposed metal.

Interior Doors
It is a good idea to keep duplicate keys for the bathrooms and other locking doors. Children may accidentally lock themselves into a room and be unable to work the lock. You may find that some interior locks can be opened with a small screwdriver, ice pick or similar tool.

Remove finger smudges from painted or varnished interior doors by washing with warm water and a soft cloth or sponge. Dry the surface thoroughly with a soft cloth or towel. Check your interior doors frequently and use touch up paint or varnish when necessary. These simple steps will keep your interior doors beautiful and in top condition.

If your closets feature sliding doors keep clothes and other items away from the doors so they do not obstruct the door's proper operation. The roller and tracks should be lubricated with an oil-free silicon lubricant. Oil and grease attract dust and dirt that become embedded in the lubricant and tracks.

Exterior Doors
Check the finish on your exterior doors several times a year. Doors that receive direct sunlight should be inspected more often. If you notice cracking or peeling, refinish the door promptly. Use touch up paint as needed and repaint once a year or as required. If left unattended, cracking and peeling will progress rapidly and destroy the surface of the door. Reposition sprinklers that spray doors and other wood or metal surfaces. Water can severely damage wood surfaces.

Avoid slamming doors because damage may result. Do not make hasty adjustments on new doors, since the condensation and humidity of a new home will affect them only temporarily. Occasional slight sticking is normal and even desirable for a weather-tight fit. To eliminate minor sticking, try paraffin, candle wax or commercial dry lubricant sticks.

If occasional lock sticking occurs, exterior locks can be easily freed with lubricant sold in most hardware stores. Locks may require adjustments of the strike plate on the door jamb. Remove the strike plate and carefully file the latch opening. Or move the strike plate by moving the screws into new positions.

Planing is a drastic solution. Do it carefully and cautiously otherwise the door may refuse to close properly in drier weather. When the door closes to your satisfaction after planing, seal the raw wood with paint or varnish to reduce the chance of swelling or warping later.

Small cracks may also develop during a dry season and may disappear during wet winter months. If the cracks do not disappear over time, they can be easily filled with wood putty, caulking compound or filler. These materials may be obtained at your local hardware store or home center.

The shrinkage of insert panels in doors, showing raw wood edges is not uncommon due to temperature and humidity changes and can be corrected by repainting after the movement has stabilized.

Inspect the weather-stripping on your exterior doors frequently. Weather-stripping should form a reasonably tight seal to prevent air and water from entering. Normal contraction of wood doors can leave a small gap in the weather-stripping. This is normal. The small gap will close when the humidity increases and the door expands. Re-glue or replace rubber and synthetic weather-stripping that has worked loose. Use an appropriate commercial weather-stripping cement or glue. Do not use super glue type adhesives.

Metal weather-stripping components can become unfastened. If this happens, carefully reshape the metal to its proper position and fasten it with small nails or tacks. Replace metal weather-stripping that has been damaged beyond this simple repair procedure.

Garage Doors
Since the garage door is a large, moving object, periodic maintenance along with following the manufacturer's instructions will insure safe and reliable operation.

Do not allow anyone except the operator near the door when it is in motion. Keep hands and fingers away from all parts of the door except the handle. Do not allow children to play with or around the door.

- Every three months, a 30 weight automobile oil or similar light lubricating oil should be applied to all metal moving parts: hinges, pulleys, and springs. Wipe away any excess oil. Do not lubricate the tracks or the surface of the nylon roller. If needed, you can adjust the tension on the upper and lower rods to compensate for any warping of the door. At this same three month interval, check to see that all hardware is tight and operating as intended without binding or scraping.

- It is a normal condition for wooden garage doors to sag somewhat due to its weight and span. This will stabilize after the panels have dried thoroughly.

- For your safety, after one year, have any needed adjustments made by a qualified specialist. The door springs are under a considerable amount of tension and require special tools and knowledge for accurate and safe servicing. Have the door inspected by a professional garage door technician after any significant impact to the door.

- If an electric door operator is installed, be sure the door is completely unlocked and the pull down rope had been removed before using the operator. The six month inspection and servicing described above is still needed even if an electric opener is installed.

If your home has a one-piece garage door that is made of wood, close your garage door during rain. If the garage door is left open during rain, water will collect on the door and may cause warping and damage to the door and the door hardware.

If your home has a sectional garage door that is made of lightweight steel, the door is very susceptible to denting and scratching. Take care to avoid leaning objects such as bicycles or ladders against the door.

Adjustments to the garage door mechanism may be needed after extensive use or after painting or repairs. The mechanism is under high tension. Serious injury can result if the mechanism is improperly handled. Contact an authorized dealer or other garage door service provider if adjustments are needed.

Automatic garage door openers and sectional garage doors may be covered by a manufacturer's warranty. Please read the manufacturers' warranties provided to you in conjunction with your home purchase for information on maintenance, operation and electronic coding.

#### Electrical System

The electrical system in your home is intended for normal residential use. We highly recommend that you consult a licensed electrician to make changes or additions to your electrical system. Please note that a permit may be required for changes and additions to your electrical system.

#### Circuit Breaker

During your orientation walk-through your builder will have pointed out the location of the circuit breaker panel. There will be one master circuit breaker and several individual circuit breakers.

Circuit breakers trip under excessive electrical load. Circuit breakers have three positions: on, off, and tripped. When a circuit breaker trips it must first be turned "off" before it can be turned "on". Switching the breaker directly from "tripped" to "on" will not restore service. Reset tripped circuit breakers by moving them to the "off" position and then to the "on" position.

In the event of a loss of electrical power in your home, follow these steps:
If the power loss is in one area of your home and power is available in other areas of your home, it is likely that an individual circuit breaker has turned off. Unplug any appliances in the area that are without power and turn other appliances off. Check the circuit breaker and, if necessary, reset it. Plug your appliances back in. If the circuit breaker fails repeatedly, you have either a short circuit in one of your appliances or a short circuit in the electrical system in your home. Do not attempt further repair. Call a licensed electrician.

If electrical power is lost throughout your home, check the master circuit breaker. If the master circuit breaker has tripped, reset it. If the master circuit breaker trips repeatedly, refer the problem to a licensed electrician. If the master circuit breaker has not tripped, take a look around your neighborhood. If you notice a general electrical failure in your neighborhood, call your electric company to report the problem.

#### Ground Fault Circuit Interrupt Devices

During your orientation walk through your builder will or will have pointed out the location of ground fault circuit interrupt devices (GFCI outlets). Usually, GFCI outlets are located in bathrooms near tubs and bathroom sinks, in kitchens, laundry rooms, and garages, and on the exterior of your home. These are special circuit breakers that are designed to break the flow of electricity in the event of a short circuit. This will prevent dangerous electrical shock.

GFCI circuits have a test and reset button. These are pointed out during the orientation walk through. Once each month the test button should be pressed. This will trip the circuit. To return service, press the reset button. If a GFCI breaker trips during normal use it may be an indication of a faulty appliance and some investigation is in order.

Do not plug appliances such as air conditioners, refrigerators, and food freezers into GFCI outlets. The electrical surge that occurs when these appliances cycle will trip the GFCI outlets and break the circuit. Heavy electrical usage appliances such as power tools or even hair dryers can trip the GFCI breaker. Atmospheric moisture, such as during rains or after a hot shower, may also trip the GFCI breaker.

It is possible that some outlets that are connected to the GFCI device are not so marked. If you have a failure at an outlet, reset the GFCI devices as well as the circuit breaker. Continued failures indicate a potentially dangerous electrical problem. Contact a licensed electrician for assistance.

#### Exterior Lighting

The exterior lights on your home can have brass or painted finishes. Replace the light bulbs with the recommended specification. Replacement globes can be purchased at home centers, lighting stores and hardware stores.

#### Interior Lighting

The lighting fixtures in your home are designed for standard wattage bulbs. To avoid excessive heat, you should not exceed the manufacturer's recommendations. If a luminous light fixture does not work, make sure all fluorescent bulbs are installed properly. Adjust any tubes that are flickering or buzzing. Check wall switches and circuit breakers.

If a light fails to come on, check the bulbs to be sure they are not loose or burned out. Also, check to see that they are the correct wattage for the fixture. Next check the breakers. If this fails to solve the problem, you will then need to arrange for service.

Translucent panels can be cleaned by removing them. First push up slightly above the grid system, then tilt and lower. Wash in a 1-2% solution of water and mild detergent. Do not rinse; the soap film will reduce static electricity.

#### Outlets and Switches

Electrical outlets can be found in every room in your home. Do not exceed the capacity for which the outlets were designed. Devices that increase the capacity of electrical outlets and multiple extension cords can cause a fire and severe personal injury or death.

If any electrical outlet does not have power, there are two possible explanations:
Some outlets are controlled by a wall switch. Plug an appliance into the outlet and turn on nearby wall switches to see if the problem is corrected. If you find that an outlet is controlled by a wall switch, you might point this out to others who live in your home.

Check the circuit breaker. If the circuit breaker has been tripped, reset it and try the outlet again. Check the GFCI devices and reset if necessary. If the circuit breaker trips repeatedly, call a licensed electrician or your builder if your home is still covered under your third party warranty policy.

CAUTION: Small children can be injured by poking small metal objects into wall outlets. You can prevent this by installing child proof devices on all floor level electrical outlets. These devices are available in grocery stores and drug stores as well as home centers and hardware stores.

#### Ceiling Fans

DO NOT hang a ceiling fan from an existing ceiling light box without adding additional support to carry the extra weight.

#### Expansion and Contraction

All building materials are subject to expansion and contraction caused by changes in temperature and humidity. This applies to everything in your home, even including the concrete. Dissimilar materials expand or contract at different rates. This results in separation between materials, particularly dissimilar ones. The effects of this expansion and contraction can be seen in such things as small cracks in the foundation, drywall, paint - especially where moldings meet sheetrock, and mitered corners, where tile grout meets tub or sink, etc. This can be alarming to an uninformed homeowner, but, in fact, it is very normal, even in the highest quality of construction.

This may occur in your home. It will be most noticeable during the first year, but typically continues into subsequent years. In most cases, caulking and paint is all that is needed to repair this minor evidence of a very natural phenomenon. Even properly installed caulking will shrink and must be maintained.

#### Exterior Finishes

The primary exterior finishes on your home are wood and stucco. Because they are exposed to constantly changing weather conditions, the exterior finishes on your home require routine maintenance and care. We recommend that you inspect the exterior surfaces of your home every three months.

#### Stucco

The white, powdery substance that sometimes accumulates on stucco surfaces is called efflorescence. This is a natural phenomenon and cannot be prevented. In some cases, it can be removed by scrubbing with a brush and strong vinegar. Consult your home center or hardware store for commercial products to remove efflorescence.

Other rules for maintaining the stucco on your home are:

- Avoid spraying water from irrigation or watering systems on stucco surfaces. Check the spray from your lawn and plant irrigation system frequently to make certain that water is not spraying or accumulating on stucco surfaces.

- Keep dirt a minimum of six (6) inches from the stucco weep screed.

- Do not pour concrete or masonry over the stucco weep screed.

#### Wood

Wood is found throughout your home. Because wood is a natural, porous material, it requires protection with paint if it is exposed to the elements. Inspect your exposed wood surfaces every three months or after periods of inclement weather. If you find cracking or peeling of the paint, sand the area and repaint it promptly. The exterior wood on your home will require repainting every two to four years.

Surfaces that receive direct sun will require more frequent repainting. Inspect these surfaces every three months. Repaint every year or as needed.

A certain amount of splitting, cracking, or raised grain is normal for wood exposed to the weather, and does not indicate a defect in the wood or paint. Split or damaged wood, particularly on the ends of beams, should be repaired or repainted to avoid further damage. Such cracks can be filled with wood filler prior to repainting or staining.

Small splits on the ends of beams are called checking. This is normal and does not affect the structural integrity of the beams. The natural drying of wood can result in gaps and splits in wood molding and trim parts. Nails can work loose. Reset all popped nails and reposition trim parts that have been moved by natural drying of the wood. In cases of severe warping, replace the trim parts. Fill any cracks with commercial wood filler or caulking and use touch up paint.

#### Siding - Vinyl

Vinyl siding is a durable and attractive product. The color is consistent through the vinyl and, therefore, does not require painting or staining. Flushing with a water hose and gently brushing or scrubbing with a soft brush or cloth can clean vinyl siding. Do not use abrasive cleansers. Do not use high powered pressure washers.

Vinyl siding can be damaged from blows from sharp or hard objects. Use caution with ladders, lawn mowers and other tools when working around vinyl siding.

Do not allow sprinklers to spray water on the vinyl siding of your home. Water spray may cause staining.

#### Siding - Wood

Siding should be inspected annually for paint performance, chipping, cracking, etc. Exterior painted surfaces of the home generally should be refinished approximately every three years, or per the manufacturer’s recommendation for your specific area and climate conditions. When repainting, blistered or peeling areas should be wire-brushed or scraped with a putty knife, sanded, and spotted with primer. Be sure to use a quality exterior paint that has been formulated for local climate conditions. Trim painted white or light colors will more readily show grain, cracks and wear; more frequent inspections and additional maintenance therefore may be required.

Over time, the original finish will fade and dull due to climate conditions. You should repaint before there is much wearing away or chipping of the original finish, as doing so may reduce the need for special surface preparations.

Do not allow sprinklers to spray water on the exterior walls of your home. Water spray may cause blistering, peeling, splintering and leaks or other damages.

#### Fencing

If you choose to add a fence to your property, we urge you to employ a professional fencing contractor. It is your responsibility to locate the property lines and to have your fencing installed according to local building codes, industry standards, manufacturers' specifications, city by-laws. Before you install fencing, refer any questions to local building authorities for approval.

#### Wood Fencing

The natural finish of wood fencing should be maintained by yearly applications of a deck or wood sealer. If your fences are painted, repaint yearly or more frequently if necessary.

#### Wrought Iron Fencing

Some of the fencing on your property may be made of wrought iron. Wrought iron is subject to rusting if it is not maintained properly. Use touch up paint on nicks and scratches every few months or as needed. Areas with obvious rust should be sanded and repainted immediately with water resistant primer and paint. Repaint every one to two years. The frequency of maintenance depends on the exposure to sunlight and to dampness. Do not let water stand around the fence posts.

#### Fireplaces

Some fireplaces are gas-only appliances. The venting, clearances, and other construction features of these gas-only fireplaces do not accommodate the burning of wood, paper or other materials, and could cause a chimney fir or house fire to result if used improperly and/or maintained improperly. Whether or not the fireplace in your home is gas-only will be reviewed with you at your orientation walk through.

Yearly inspections and service of your fireplace and chimney by a qualified fireplace company are appropriate to maintain your fireplace system in proper working order.

Here are additional rules for getting the maximum benefit from your fireplace:

- Fireplaces need a draft to function properly. You should open a nearby window about one inch before you light a fire. This is especially true if your heating system is operating at the time your fire is lighted. Failure to open a window and provide a draft could cause a down draft and smoke or gas may fill your home.

- Always use a fire grate or andirons in your fireplace to allow air to circulate around the fire.

- Never place the fire directly on the floor of the fire box.

- Be sure the damper is in the open position before you build a fire. Become familiar with the operation of the damper before you light the fire. Some homes have a fresh air vent installed with the fireplace, to provide combustion air. Like the damper, this fresh air vent needs to be opened prior to starting a fire.

- For wood-burning fireplaces, use firewood that is intended for a residential fireplace. The logs should not be too long for the fire box. Do not use green or water-soaked wood. Do not use construction lumber or other wood which has high creosote or pitch content. The pitch will condense on the chimney and, in time, build up enough to become a fire hazard. Do not use pressed wood fireplace logs. Residues from these logs can damage fireplace equipment and stain the exterior chimney cap and the surrounding stucco. Store wood outside as it may be a home for unwanted insects.

- Close glass doors or fireplace screen doors when the fire is burning.

- Never leave the fire unattended. Extinguish the fire before going to bed and when leaving home.

- Never use your fireplace as an incinerator to burn trash, a Christmas tree, holiday decorations, or the like in a fireplace.

- After the fire is completely out and the embers are cold, close the damper to prevent heat loss through the chimney.

- Remove residual ashes after you are certain that they are cold. Hot coals in ashes can ignite if the ashes are dumped in a garbage can or other receptacle.

- Clean your fireplace and chimney regularly. The timing of cleaning will be determined by the frequency and way you use your fireplace, and (for wood-burning fireplaces) by the type of wood you burn. Heavy use with soft woods or improperly seasoned woods will result in the need for more frequent cleaning, probably once a year. Creosote and other wood-burning by-products accumulate inside the flues over a period of time. This build-up can be a fire hazard. A qualified chimney sweep should be hired for chimney cleaning.

#### Floors

The flooring in your home requires routine maintenance and care.

In some instances, the floors may squeak. Squeaky floors are usually caused by a change in the weather, or by normal shrinkage of the wood materials and/or settlement of your home. This is normal in new house construction and is not considered a construction defect.

Please inspect your flooring carefully during your orientation walk through. Any damage or defects in your flooring must be noted at that time. Subsequent damage, including broken tiles, scratched wood flooring, torn carpeting and scuffed vinyl, is your responsibility. If you retain an outside flooring contractor for installation of floor coverings at your home, either before or after close of escrow, installation of such flooring is your responsibility, and your outside flooring contractor must investigate and address their installation to any conditions or claimed imperfections involving the sub-floor or slab on which such installation occurs.
The subfloors of your home have generally been designed to support the weight of your home, plus a per square foot furniture and occupancy load. Waterbeds, pianos, and pool tables may exceed this limit. Check with your builder if you are in doubt.

We offer these steps for routine maintenance of your flooring. Please follow your manufacturer's recommendations.

#### Carpeting

#### Vacuum carpeting frequently to avoid the buildup of dirt and grime. High traffic areas should be vacuumed twice a week. If your vacuum cleaner has a beater type attachment, the beater should barely touch the tops of the carpet fibers.

Eliminate carpet shedding fibers as they appear. Loose carpet fibers will work their way to the surface for quite some time. This is known as fluffing or shedding. Vacuum these fibers as a part of your routine cleaning. If a tuft of carpet appears which is longer than the surrounding carpet, do not try to pull it out. It is probably attached to the backing and simply needs to be trimmed to the height of the surrounding tufts.

Visible carpet seams may be evident and are not an indication of a fault in the carpet. Most rolls of carpet are produced in 12 foot widths. This dictates that most of your rooms will have at least one seam. Professional installers will attempt to install your carpet with the minimal amount of seams and without excessive waste. Seams are most visible in a home before it has been furnished and occupied. As your carpet wears, the fibers will blend together, eliminating many of the visible seams.

When moving furniture, lift rather than drag the pieces over carpeting, to avoid lumps and snags.

Doormats are an excellent way to save your carpets. Use them in high traffic areas with one on each side of exterior doorways.

Remove spills immediately. Stain removal is easier if it is done promptly. Consult your specific manufacturer's warranty information for stain removal. Cleaning products should be tested on a section of carpeting that is not in a high traffic area. Do not use cleaners that have not been recommended by the manufacturer for the carpeting materials in your home.

You may void your manufacturer's warranty using cleaners that have not been recommended by the manufacturer.

Thoroughly clean your carpets at least once each year. While do-it-yourself carpet shampoo devices can be effective, consider employing a professional carpet cleaner.

You should refer to the manufacturer's recommendations on carpet care for additional information. Regular vacuuming and immediate treatment of stains will prolong the beauty and life of your carpeting.

#### Ceramic Tile and Stone

Ceramic tiles are available in a wide variety of colors, sizes and finishes.

Generally glazed ceramic tile is used in residential installations. Consult your manufacturer's instructions for cleaning and maintenance.
Small bubbles or hairline cracks in the finish are common characteristics and will not affect the structural performance of ceramic tile, nor is it considered a defect. Chipping and cracking may occur if objects are dropped on the surface or if objects are slid across them. Grit particles can scratch the surface as well.

- General Care: Sweep up dirt and grit with a soft broom or dust mop to avoid grit abrasion. Frequency of cleaning must be based on traffic and grit build-up. Wipe up spills promptly to save cleaning time and work. Mop with clean, warm water.

- Grout: Grout is cement with color additives. Coloring can change with time. It is suggested that the grout be sealed with a penetrating sealant every 6 to 12 months to prevent particles seeping into the pores. There are products designed for homeowner use such as grout color blender, stains and dyes; and grout cleaners, strippers and sealers. Application of grout sealant is a homeowner maintenance responsibility. Grout sealers may change color over time, and may change the color of your grout when applied. Grout color is not a warranted item.
The movement of metal thresholds against grout may cause the grout finish to crack. By placing a bead of clear silicone between the grout and the metal threshold, the silicone will act as a shock barrier and will minimize the powdering of the grout. Note: If a tile or any grout is replaced, there is no guarantee that the grout will match the existing; the new grout may dry lighter or darker than the original grout.

- Pavers: Unglazed floor tile (pavers) is an unsealed, porous tile. Dealers suggest that a penetrating sealant be used to maintain this type of floor, to prevent spills and stains from seeping into the pores (may require re-sealing after a one year period). Application of sealant is a homeowner maintenance responsibility.

- Marble: Marble is a natural rock and not factory made or fired. No two pieces will be alike, as there is an inherent variance in all marble. Fusing is natural in marble and is not to be confused with cracking. Because 98% of marble is polished, it is recommended that a marble sealant be used to help eliminate the possibility of foreign liquids seeping in. There are several chemical preparations for marble treatment and polishing. DO NOT USE cleaners that contain grit or high alkaline compositions. If you have any questions, please contact your marble dealer or distributor.

- Granite: Like marble, granite is not man-made; however it is less porous and more dense than marble. Unlike marble, granite has no veins. Granite can be used indoors and outdoors. A sealant is recommended to help eliminate the seepage of foreign matter.

#### Hardwood

Hardwood floors are typically covered by a warranty from the manufacturer. Please read your warranty for more information.

Wood floors will respond noticeably to changes in humidity level in the home, especially in the winter. When a floor is new, small splinters of wood may appear; dimples or scratches can be caused by moving furniture, dropping heavy or sharp objects, etc. Bubbles, scratches, and/or minor dirt and debris appearing in the finish of a wood floor are typical and within normal construction standards; comparison to the finishes in the project models is the standard used for such typical imperfections. Some shrinkage or warping can be expected, especially around heat vents or any heat producing appliances.

Warping may occur if the floor becomes wet repeatedly or is thoroughly soaked even one time. A dulling of the finish in heavy traffic areas is likely; a white, filmy appearance is caused by moisture (often from wet shoes or boots). Color variations may develop from exposure to direct sunlight. Plank flooring will sometimes be adversely affected by moisture when installed over concrete and may pop due to slight variations in the surface of the concrete slab.

Follow these steps to care for your hardwood floors:

- Clean your hardwood floors frequently. Sweep the floors and mop with a soft, dry mop or cloth. Vacuum regularly, when you vacuum household carpets.

- Do not use water or water-based cleaners, bleach or one-step floor cleaners.

- Do not flood hardwood floors with water. This will cause stains, warping and the destruction of the flooring.

- Do not permit water or other liquids to stand on hardwood flooring. Wipe up spills immediately.

- Use protective walk-off mats at the exterior doors to help prevent sand and grit from getting on the floor. Gritty sand is one of wood floorings worst enemies.

- Do not drag heavy appliances or furniture across hardwood flooring. Permanent scratches in the finish can result. Ladies' high-heeled shoes can dent hardwood flooring.

- Install proper floor protectors on furniture used on hardwood floors. Protectors will allow chairs to move easily over the floor while minimizing scuffing. Clean the protectors on a regular basis to remove any grit that may accumulate.

- Your hardwood floors should be maintained according to the manufacturer's instructions. Consider having this done by a professional.

#### Vinyl Flooring

The following are tips for proper care of your new vinyl floor.

Because of its relatively soft texture, vinyl flooring can be damaged by heavy appliances, dropped tools and by rough use. This damage is permanent and cannot be repaired.

- Ladies' high-heeled shoes and furniture without proper casters are particularly damaging to vinyl. Gouging from sharp objects under pressure will cut any floor covering. All heavy furniture, appliances and chairs should be supported with wide weight-bearing glides or casters. When moving heavy appliances across the floor, protect your vinyl flooring.

- Do not use abrasive cleansers or full strength bleach on vinyl floors. Abrasive cleaners will dull the finish and cause permanent damage. Full strength bleach can etch and destroy the surface of the flooring.

- Clean vinyl flooring with a solution of warm water and a commercial vinyl flooring cleaner.

- Remove spills immediately to avoid staining and damage to the flooring. Excessive amounts of water on resilient floors can penetrate seams and get under edges causing the material to lift and curl. Use a sponge or soft cloth. Dry the floor after removing the spill.

#### Gutters And Downspouts

If your home is equipped with gutters, protect them by seasonal inspection. Clean them at least twice a year, especially after leaves fall on your roof. Make sure both gutters and down spouts are kept clear. Corners and joints should be checked and repaired at the same time, using readily available commercial sealers. Downspouts that are not tied into drains should be draining onto a concrete splash block or into a planted area to prevent erosion. If not removed, ice blocks will cause the gutters to sag and fall especially if the sagging causes the pins to fail or come out. Damage due to improper maintenance by the homeowner or blockages due to ice, debris etc., will not be covered.

#### Hazardous Materials

Never put unwanted hazardous materials in the trash can or anywhere they could wash into the storm drain. The storm drains are not connected to the sewer system and pollution that enters goes directly into local waters. Take hazardous materials to local hazardous waste collection sites for safe disposal. If you accidentally spill hazardous material on a hard surface, use "kitty litter" or other absorbent material to soak it up. Then properly dispose of absorbents at hazardous waste collection sites. Please contact your city or municipality for the nearest household toxics collection location.

Practice recycling of reusable materials and buy household products which are labeled "non-toxic" whenever possible. If you must use toxic products follow the directions carefully and store them properly. Use pesticides, herbicides and fertilizers sparingly according to the directions on the original container and avoid use if rain is forecast.

#### Heating And Air Conditioning

Your home is equipped with a heating system and perhaps an air conditioning system. Please read the instructions and become familiar with the heating and air conditioning systems before you use them.

Your heating and air conditioning systems can play an important role in the first year after you move in. It is best not to overheat a new home during the initial year of occupancy because this may cause excessive shrinking of framing lumber and other materials. Begin with as little heat as possible and increase it gradually. Attempt to maintain an even temperature between 68 and 72 degrees.

Carefully read and follow your manufacturers' warranties and instructions for use and care of your heating and air conditioning systems. Good maintenance of the heating and air conditioning systems can save energy dollars as well as prolong the effectiveness of those systems.

Please note you may experience the smell of dust when the unit is turned on for the first time. This is typically caused by dust that has settled in the ducts, and should pass quickly.

The following maintenance obligations are intended to assist you in getting the maximum usage from your heating and air conditioning systems:

- Inspect the filters at least once every sixty days; change or clean as needed during times of constant operation. In areas with heavy dust more frequent changes may be in order. During the first two months after you occupy your house, check the filters every two weeks, as they may clog more frequently from removing accumulated construction dust. Fresh filters can significantly reduce operating costs and will prolong the life of your system. A clogged filter can slow air flow and cause cold spots in your home, and can result in damage to the unit and increased energy costs.

- Check the operation of your system well in advance of peak operating seasons and correct any problems before seasonal service demands are the greatest. Annual inspections of your heating and air conditioning systems by a heating and air conditioning professional are recommended.

- Keep all vents and registers clean and free of dust, cobwebs and debris.

- Furnaces will typically have combustion air vents run to them. Never cover or block these vents. Air from outside is needed to supply oxygen to the furnace. If they are covered or blocked, the furnace may draw air down the vent pipe, pulling poisonous exhaust fumes into your home.

- Air registers can be adjusted to control the flow of air into individual rooms. Simply close down or open the registers in each room to your own desired preference. This helps to balance the system. You may enjoy different settings for winter and summer in a two-story house. Direct warm air to the lower floor in the winter and cool air to the upper floor in the summer. Never close a register completely-even in an unoccupied room.

- Return air grilles allow for air to circulate back to the heating and air conditioning system. Be sure not to cover the return air grilles with pictures, furniture, or other objects that might block the flow of air.

- The air conditioning condensation discharge point and the water heater pressure relief discharge points should be checked every three months to assure that they are clear. It is the homeowner's responsibility to keep these areas open so discharge points are free of obstructions.

- The temperature in your home is controlled by a thermostat. In some cases, multiple systems may be installed, each with its own thermostat. Do not place a lamp or heat-producing appliance next to a thermostat, because heat generated by such an object may produce an incorrect reading.

- Your home air conditioning is a closed system, which means that the interior air is continually recycled and cooled until the desired air temperature, is reached. Warm outside air disrupts the system and makes cooling impossible. Therefore, you must keep all windows closed when operating the air conditioning system. The heat from the sun shining through windows with open drapes is intense enough to overcome the cooling effect of the air conditioning unit. Drapes must be closed on these windows.

- Unlike a light bulb which reacts instantly when you turn on a switch, the air conditioning unit only begins a process when you set the thermostat. For example, should you come home at 5:30 P.M. on a day when the temperature has reached 32 degrees Celsius, and then set your thermostat to 20 degrees Celcius, the air conditioning unit will begin cooling, but will take much longer to reach the desired temperature. During the whole day the sun has been heating not only the air in the house, but the walls, carpet, and furniture. At 5:30 P.M. the air conditioning unit starts cooling the air, but the walls, carpet, and furniture release heat and nullify this cooling. By the time the air conditioning unit has cooled the walls, carpet, and furniture, you may well have lost patience. If evening cooling is the primary goal, you should set the air conditioning unit at a moderate temperature in the morning while the house is cooler, allowing the unit to maintain the cooler temperature through the day. This temperature setting may then be lowered slightly further when you arrive home, with better results. Setting the thermostat at 10 degrees will NOT cool the home any faster and can result in the unit "freezing up" and not performing at all. Extended use under these conditions can damage the unit.

- A common cause of air conditioning trouble is turning it off at the thermostat, and then turning it back on a short time later. This can cause an overload of the compressor motor which in turn can trip the breaker or blow the fuse and may shorten the life expectancy of the unit.

- The air conditioner compressor must be maintained in a level position at the original location. The compressor should not be enclosed. It is important to keep the area around the outdoor air conditioning unit clear of plants, grass, landscaping and/or debris. If good air flow is not available, the system will not function properly and damage to the mechanism can result.

- Coolant or refrigerants should be added to the system only when the outside temperature is 20 degrees C. or higher. Proper coolants or refrigerants for the particular equipment must be used, as specified by the equipment manufacturer. Use of an air conditioning professional for selection and addition of coolant or refrigerant is recommended.
If you find yourself with no heat or air conditioning, the checklist that follows may help identify the cause. You should also review the manufacturers' literature for additional hints. These are normal homeowner maintenance items: if your heating contractor makes a service call to repair one of the items listed, there will be a service charge.

  - Thermostat temperature setting & switches.

  - The ON/OFF switch to the outlet supplying the furnace or air conditioner.

  - ON/OFF switch on furnace or air conditioner itself, if any.

  - The fuse, if your furnace or air conditioner has one.

  - Breaker on the electrical panel.

  - Safety switch for the fan cover.

If none of these items correct the problem, refer to the subcontractor phone list in this Manual for appropriate phone numbers.

#### Interior Walls

The walls in your home are constructed of wood and other materials, which are subject to normal expansion and contraction. Molding and trim can shrink and warp in some cases. Routine maintenance on molding, trim and wall boards is the responsibility of the homeowner beyond your warranty coverage. Replace warped molding and trim. Reset nails that have popped out of position. Use touch up paint and, if necessary, the appropriate caulking material to complete the repairs.

Use care when you hang pictures and other decorative items. The wall board will be damaged if it is hit with a hammer. Costly repairs can be avoided by using picture hooks and other supplies from a home center or hardware store. Always repair nail holes with a dab of filler.

The walls in your home may be textured. The texturing material is relatively soft and can be damaged by scrubbing with abrasive cleansers and rough brushes or cloths. The pattern in textured walls can vary and is difficult to duplicate when repairs are made.

Small finger smudges may be removed from the enameled walls with a solution of warm water and a mild detergent soap. Wash gently with a soft sponge or cloth. Rinse and wipe off the excess water carefully. Do not permit the wall board to become soaked with water. Larger spots, not easily removed by cleaning, will require paint touch up.

#### Kitchens

- Range Hood: Grease build-up in your range hood can present a fire hazard. Avoid this problem by cleaning both hood and filters at least once every six months (more frequently if required by heavy usage) with mild dishwashing detergent, drying thoroughly and reinstalling new filters.

- Ventilation: The exhaust fans provided in your home are designed to reduce odors, smoke, and moisture produced by cooking and bathing. Regular cleaning and inspection every six months (more frequently if required by heavy usage) will help keep them in working order. After cleaning is completed, lubricate the fan with a light household oil (and wipe up any excess oil from the surface).

- Cabinets, Countertops, Appliances: See corresponding sections in this Manual.

#### Landscaping, Drainage And Grading

Your lot has been graded to provide for adequate drainage away from the structure that is your home. Failure to maintain drainage can result in damage to your home, your lot and to neighboring property. Any alteration of the drainage plan for your lot will void coverage under your warranty for the drainage features and anything damaged as a result.

The drainage plan of your lot has been designed to accommodate the soils, elevations and other factors of the lot. Small hills and valleys – called berms and swales – may be used to direct the water away from your home and adjacent properties. These contours must be maintained to avoid severe water damage during heavy rains, and to avoid long-term problems which may arise from improper drainage. Berms which are designed to direct the flow of water away from slopes are especially important and must not be altered.

Areas surrounding foundation or basement walls are often backfilled with earth. Backfill areas are not as compact and dense as most natural ground. Surface water (such as irrigation water and rainfall) may penetrate into backfill areas, percolate downward to the bottom of the basement or foundation, and cause severe problems such as wet basements, cracks, floor slab movement, etc. This must be managed by the homeowner by maintenance of proper drainage, and proper installation and design of any homeowner-installed landscaping, in order to prevent accumulation or “ponding” of surface water in these backfill areas.

A system of underground drainage facilities may be provided in some lots. On these lots, a catch basin system may be installed at various locations in the yard to accept the water run-off. These catch basins, and the grates covering them, must be kept free of debris so that the flow of water is not impeded. Check and clear these grates monthly, or more frequently as necessary especially in times of rainfall.

Proper irrigation control and drainage can mitigate the effects of potential soils movement. Even with proper irrigation and drainage, some soils movement may occur due to expansive soils. Therefore, improvements should be designed with adequate reinforcement. A soils engineer or civil engineer should be retained to review your specific hardscape and landscape plans to minimize future problems. Since your builder does not have any control of the quality of design, materials, construction procedures, or labor used in the improvements which homeowners construct on their lots, you are hereby advised that it is your responsibility and that of your contractors and consultants to properly design and install any improvements so as not to deter proper lot drainage and to protect those improvements from damage due to expansive soil.

Consult a soils engineer or civil engineer before you make any additions, changes or alterations to the drainage of your lot, and make sure that all landscaping contracts you enter into include language to insure safe and adequate drainage. Your builder will not be responsible for any damage to your unit or other units caused by changes or alterations in the grading and drainage system.

Prior to the installation of a pool or other permanent improvement, a soils report should be obtained so that soil conditions are taken into consideration in the design and engineering of your addition.

Homeowner improvements must be constructed with adequate surface drainage being provided to avoid ponding. It is recommended that homeowners install roof gutters/down spout improvements and corresponding area drain systems; if such improvements are part of the original construction of the home, it is required that homeowners properly maintain them. Particular care should be taken to provide adequate drainage away from areas adjacent to the house foundation and other improvements. Homeowners are advised to carefully design and control their landscape irrigation system to minimize soil moisture changes.

You are advised not to alter the grading and drainage design of the lot by regrading or installing patios, planters, walls, pools, landscaping, irrigation or other improvements, that may redirect surface water flow towards your home or onto adjacent property, or trap water such that it ponds and floods improvements. Drainage devices such as concrete ditches, area drain lines, gutters, etc. should be carefully designed and installed with professional assistance as required. You are also advised to note the manner in which adjacent properties drain. Modifications to lot grading and drainage are subject to applicable government codes and recorded easements, covenants, conditions and restrictions. As noted elsewhere, any damages arising out of changes in the drainage pattern made by or on behalf of a homeowner or outside contractors is not covered by your builder nor your third party warranty providers policy.

Natural settling can also change the original grading. It is your responsibility to maintain the original grading of your lot and to preserve good drainage. Any changes to the grading or drainage features could damage your property as well as neighboring property.

A soils engineer has recommended the type and design of the foundation for your home, based upon their evaluation of the soils present at this project. Any changes in the foundation, the grading or the landscaping of your home and lot can result in severe damage to your property and to neighboring properties. Consult a licensed professional before any such changes are made. Please see the more detailed discussion of soils set forth later in this Manual under the caption "Landscaping Maintenance Tips - Soils."

If a concrete patio slab or other slab is installed next to the foundation it must be constructed so that no water will penetrate the joint between the foundation and the slab. All slabs must be sloped so that water drains away from the home. Do not pour concrete directly against stucco screed, or siding. Since the appropriate drainage paths were established when your home was finished, the area of the slab should be excavated to fit the existing grade. The soil removed from the area must be placed so that is doesn't destroy existing swales, or it should be removed from the property.

During your orientation walk through, your builder will have shown you the boundary corners of your lot if you are buying a single family home. It is your responsibility to know your boundary prior to beginning any construction. Your builder will not be responsible for protecting your boundary markers after your Orientation walk through.

Please consider that any changes you make in the grading and drainage of your lot could affect neighboring properties. Damage to your property and to neighboring property will be your responsibility.

#### Landscaping

Check your irrigation system regularly. Look for clogged, cracked or broken heads, leaks and spray adjustment. Position sprinkler heads so that the water does not fall on wood, stucco or other exterior surfaces of your home. Automatic sprinkler systems should not be connected to a GFCI circuit. Avoid ponding from excessive watering in low spots and next to structures. Identify the location of irrigation lines and avoid digging or trenching around the lines. If a line is broken, consult with a nursery employee or irrigation professional for advice on repairs.

Observe the flow of irrigation water after each planting. If you notice pooling water or excessive flows in one area, construct drainage features to direct the flow of water away. Consult with a landscape contractor before such drainage features are begun. Always keep drains free of debris, leaves and lawn clippings.

Landscaping can change the grading of your lot. We suggest that you consult a professional landscape contractor when the time comes to landscape your lot. Provide ample room for growth between plants and your home. The ground next to your home should always slope away to prevent standing water. If water is allowed to stand or pool next to your home, damage to the foundation and plantings will result. The water also could seep into your home and damage the interior and furnishings.

It is frequently a good practice to run sprinklers for short period of time immediately prior to installing sod or grass seed. Pay attention to not over water when doing so, as doing so may cause settling to occur near home.
If your landscaping projects require additional soil be added to your lot, be especially careful that the drainage is not altered significantly. Keep the surface of the soil at least six inches below the level of the stucco screed. This will assist in preventing wood rot and termites.

Flower beds can significantly change drainage patterns. We suggest that you consult a professional landscape contractor before you dig flower beds. In any case, keep plantings in flower beds a minimum of two to three feet from the foundation. This will prevent excessive water from collecting at the base of the foundation.

Locate plants and irrigation heads out of the way of pedestrian/bicycle traffic. When planting trees, allow ample distance from the foundation and other improvements so that the root systems will not cause damage as the tree matures. "Street" trees (typically located in median strips between the sidewalk and the street) are typically a city requirement, but must be maintained by individual homeowners.

Depending on local soils conditions, trees may need to be deep watered once a week until they are well established. Provide simple guying (restraint) systems for trees for a minimum of two years.

Make provisions for efficient irrigation. Drain and service sprinkler systems on a regular basis, at least once per year. Conduct operational checks on a monthly basis to ensure proper performance of the system. Adjust any sprinkler that sprays any part of the structure or any painted fencing. Avoid overwatering that can cause ponding or infiltration of water next to, into or under concrete slabs, patios, walkways, walls, fences or driveways.

Please consider that any changes you make in the grading and drainage of your lot could affect neighboring properties. Damage to your property and to neighboring property will be your responsibility.

#### Landscaping Tips

The following information is provided to assist you in the care of your yard, the planting, the landscaping and the irrigation system.

Grass Diseases
Most lawn diseases happen when lawns are over-watered and under-fertilized. Adjust your watering and fertilizer schedule diseases appear. If diseased spots persist, discuss the problem with a nursery person.

Ground Cover
Water newly planted ground cover three times a day until the coverage has been established. Then water as you would lawn area.

Fertilizer
Use a balanced fertilizer. Water sufficiently after fertilizing to assure penetration of the fertilizer and to prevent burning your grass; but avoid ponding and puddling, especially near any concrete.

Insects
Corrective measures should be taken only when large numbers of insects have been seen and damage is evident. At the first sign of damage to your lawn, take a specimen of the insect to a nursery for advice.

Irrigation
Identify the location of irrigation lines and avoid digging or trenching around the lines. If a line is broken, consult with a nursery person or irrigation professional for advice on repairs.

Check your irrigation system regularly. Look for clogged, cracked or broken heads, leaks and spray adjustment. Make certain that the spray is not directed so that it falls on the house. Avoid ponding from excessive watering in low spots and next to structures.

Adjust your irrigation schedules according to the temperature, wind conditions and weather. Watering during rainy periods is wasteful and potentially damaging due to over watering.

Mowing
Maintain most grass at a height of 2 to 3 inches. Never cut more than 1/3rd the length of the blades of grass. Yellow or white tips on the grass indicate a dull mower blade.

Seeding
If bare spots develop on your lawn, contact your nursery person for advice on seeding.

Soil
Special precautions should be taken in the design and construction of homeowner improvements such as pools, spas, patios, walls, slabs, planters, decking, landscaping, irrigation, and the like. It is recommended that planters be kept away from the house foundation. It is also recommended that, prior to landscaping or installing improvements, the homeowner contact a professional soils engineer and structural engineer to evaluate the soil conditions on the lot and, if necessary to carefully design improvements to account for those soils conditions.

Homeowner improvements should not be constructed without adequate surface drainage being provided to avoid ponding. It is recommended that homeowners install corresponding area drain systems. Particular care should be taken to provide adequate drainage away from areas adjacent to the house foundation and other improvements. Homeowners are advised to carefully design and control their landscape irrigation system to minimize soil moisture changes.

Homeowners should periodically water the bare soil to help maintain moisture during this interval. Once the landscaping has been established, irrigation should be limited to the minimum needed to maintain plant life.

Homeowners should check beneath dry-looking surface soil to see if the soil is still wet underneath. If the soil is saturated, watering should be reduced.

Since your builder does not have control of the quality of design, materials, construction procedures, or labor used in the improvements which you construct on your lot, you are hereby advised that it is your responsibility and that of your contractors and consultants to properly design and install any improvements so as not to deter proper lot drainage and to protect those improvements from damage.

Your builder will not be responsible for damage to the home caused by over watering or improper drainage, or by improper or inadequate homeowner improvements. Your builder will not be responsible for damage to any improvements constructed by the homeowner. Minor tilting, lifting and cracking can occur in improvements constructed by homeowners, but that the use of professional engineering can help minimize these conditions.

Trees and Shrubs
During the first year, your trees and shrubs will require more frequent watering. A good rule of thumb is to wait until the surface soil is dry between watering. After the first year, watering once or twice a week is normal. Use a pronged tool to cultivate the soil around your trees and shrubs. This promotes good water absorption. Plants that have yellowed or brown leaf tips may be under-watered. Consult your nursery for information of specific watering problems.

Prune trees and shrubs as needed. Consult your nursery for advice on pruning.

Watering
During the first few months, your yard may require frequent watering. We recommend slow, deep watering. This enables root systems to develop. Slopes may require shorter, more frequent watering because it is more difficult for the water to penetrate. Swale areas (also known as drainage courses) will typically require less watering. In normal conditions, your lawn requires watering about twice a week in hot weather. A withered or limp appearance is a sign of a lack of water. Water in the pre-dawn hours for maximum effect and to prevent evaporation. After an initial start-up period, water minimally to sustain plant growth. Check with your municipality for watering restriction guidelines.

#### Lock Care

If occasional sticking occurs, exterior locks can be easily freed with lubricants sold in most hardware stores. Locks may require adjustment of the strike plate on the doorjamb. Two remedies are suggested: One is to remove the strike plate and carefully file the latch opening, the other is to move the strike plate by moving the screws into new positions.

#### Louvers and Vents

Attic ventilation and vents providing fresh air to furnace and water heater are required by code and therefore cannot be covered or obstructed. Occasionally, depending on the force and direction of the wind, moisture may infiltrate though these vents, and in the case of attic vents may cause spotting on the ceiling.

#### Mirrors

To clean your mirrors use any reliable liquid glass cleaner or polisher available at most hardware or grocery stores. Avoid splashing water behind and/or under the mirror. The moisture will cause the silvering to deteriorate.

#### Mold

What You Need to Know about Mold. 
Mold can be found almost everywhere. Molds are microscopic organisms that are part of the fungi family, and are an essential part of the world's ecological system. Outdoors, many molds live in soil and are key to the natural breakdown and recycling of organic material, such as leaves, wood and plant debris. Lumber used in the construction of homes typically contains some level of molds, fungi, and/or spores. Because it may be impossible or impracticable to eliminate all indoor mold, indoor mold is an important topic about which a homeowner should become informed.

Mold spores are airborne and travel in and out of buildings as air is exchanged and with the movement of people and their belongings. When excessive moisture or water accumulation occurs indoors, mold growth will likely occur, especially if the moisture problem is not discovered. There is no practical method to eliminate all molds and mold spores in an indoor environment. The primary method to control indoor mold growth is to control moisture. The best course of action for any homeowner is to keep the indoor environment as "clean and dry" and free from dust and dirt as reasonably possible.

All molds are not necessarily harmful, but certain strains of mold have been shown to have adverse health effects in susceptible persons. The most common effects are allergic reactions, including skin irritation, watery eyes, runny nose, coughing, sneezing, congestion, sore throat and headache. Individuals with suppressed immune systems may risk infections. Some experts contend that mold causes serious symptoms and diseases that may be life threatening. However, experts disagree about the level of mold exposure that may cause health problems, and about the exact nature and extent of the health problems that may be caused by mold. The Center for Disease Control states that a casual link between the presence of toxic mold and serious health conditions has not been proven.

Limiting mold growth
A practical approach to limiting mold growth is early detection and prompt resolution of excessive moisture. If you can see mold or detect an earthy or musty odor, you can assume you have a moisture problem. Any moisture problem must be solved in order to arrest and eliminate mold growth. Part of the control of the indoor environment is controlling air moisture. Watch for water condensation on interior surfaces such as walls, windows and areas near air conditioning registers. Uses that have the potential of increasing relative air humidity are such things as habitation, bathing, cooking, plants, washing, and humidifiers, especially if not vented. Other moisture sources, which sometimes can go unnoticed, are water leaks from pipes in walls, and rainwater leakage through windows and roofs. Controlling air moisture is the most important action in controlling mold growth. Therefore, keep drip pans from refrigerators and air conditioners clean and dry; use exhaust fans or open windows when cooking, washing, drying clothes, and bathing. Irrigation system timers should be adjusted to reflect seasonal weather changes. A more complete list of homeowners' maintenance obligations relating to mold ("Mold Prevention Obligations") is set forth below.

Report or fix water leaks promptly
Any indication of water leaks or resulting mold at roofs, windows, floors, carpets, etc., should be reported to the builder immediately.

Homeowner Maintenance
Homeowner shall take all appropriate steps to prevent conditions that may cause mold or mildew to develop in the home.

Mold Prevention Obligations

- To keep the home free of dirt and debris that can harbor mold (dirt/dust/animal hair and dander are all very efficient hosts for mold);

- To regularly clean and sanitize, windows, bathrooms, kitchens, and other home surfaces where water, moisture condensation, mildew and mold can collect;

- To use dry towels or bath mats when stepping out of shower or tub;

- To use bathroom fans while showering or bathing.

- To use exhaust fans whenever cooking, dishwashing or cleaning. If no fan exists, open a window to allow proper ventilation and moisture to escape;

- To maintain regular air flow and circulation throughout the home;

- To use all reasonable care to close all windows and other openings in the home to prevent outdoor water from penetrating into the interior home (i.e. rain, irrigation water, etc.);

- To clean and dry any visible moisture on windows, walls, ceilings, floors and other surfaces including personal property, as soon as reasonably possible. (Note: Mold can grow on damp surfaces within 24 to 48 hours.);

- To limit the indoor watering of houseplants (total number of plants indoors is also an important variable);

- Do not hang wet clothing on indoor drying line:

- Properly maintain your dryer vent exhaust line (clean/remove lint at least once a year or sooner as may be needed):

- To maintain caulking around tubs, showers, toilets, sinks and other interior water receptacles at least once a year and more frequently if needed;

- To maintain caulking around windows, doors and other exterior openings at least once a year and more frequently if needed;

- To maintain window tracks and weep holes at least once a year and more frequently if needed (keep tracks and weep holes clean of debris/dust to allow proper egress of water when rain or irrigated water gets in them);

- To maintain positive drainage and grading away from the foundation and walls of the home;

- To maintain gutters and downspouts in a clean and operable condition at least once a year and more frequently if needed;

- To prevent penetrations of exterior surfaces (i.e., stucco, siding, brick) and roof of home from post construction additions (i.e., trellises, patio covers, awnings, satellite dishes, etc.);

- To maintain and not obstruct fresh air supply to furnace, air conditioner or heater;

- To maintain and not obstruct air conditioning primary and secondary condensate lines:

- To maintain and not obstruct ventilation installed by the builder in attic, basements, crawl spaces or other locations in the home;

- To prevent irrigation systems from exposing exterior surfaces of the home to water or over saturating/flooding ground/soil near and around foundation of the home;

- To properly use and maintain appliances containing water and other liquids;

- To not alter insulation installed by builder;

- To prevent clogging of plumbing;

To report within twenty-four (24) hours the following to the builder or sub-trade:

  - Any non-working fan, heater, air conditioner or ventilation system;

  - Plumbing leaks, drips, sweating pipes, wet spots;

  - Overflows from bathroom, kitchen, or home laundry facilities, especially in cases where the overflow may have permeated walls or cabinets;

  - Water intrusion of any kind;

  - Any mold or black or brown spots or moisture on surfaces inside the premises;

  - Broken irrigation systems or standing water near structures;

  - Any adverse health conditions or symptoms related to or suspected to be related to actual or potential mold growth;

  - Any discovery of allergies, predisposition to or heightened risk of adverse health reactions or hypersensitivity, to mold, mildew, or other related organic organisms; and

  - Any musty or unusual odors.

#### Paint

The paint on exterior and interior wood surfaces must be maintained in good condition at all times. Chips, scratches and other breaks in the surface of the paint must be repainted promptly, or serious damage to the underlying wood could result.

Please be aware that all paint is subject to yellowing and discoloration. The action of the sun usually minimizes yellowing on exterior surfaces. However, yellowing can be noticeable on interior surfaces. Yellowing is caused by the natural drying and aging of the paint and by exposure to certain chemicals such as ammonia fumes and others that are found in some household cleaners. Light colors and white painted surfaces are more subject to yellowing than darker colors.

Yellowing of oil-based paints in unavoidable. Because yellowing tends to take place over time and relatively evenly on given surfaces, it may not be noticeable until you use touch up paint. Your local paint store can assist you in choosing a touch up paint that will be a close match for yellowed paint.

Always dispose of paint and other hazardous materials properly.

#### Interior Paint

Interior woodwork, as well as the bathrooms and kitchen walls, are generally painted with satin latex paint. These areas may be wiped down with a soft sponge and soapy water.

Painted interior walls are not "scrub-proof". Scrubbing or harsh cleaners will remove paint. Also, you should avoid washing newly painted interior surfaces for at least three months after you move into your home or after re-painting, to allow the paint to fully set.

When doing paint touch-ups, use a small brush, applying paint only to the spot needing attention. Filler may be used to cover any small defects prior to paint touch up. Touch-ups will sometimes be visible. When it is time to repaint a room, prepare the wall surfaces first by cleaning with a mild soap and water mixture or a reliable cleaning product.

#### Exterior Paint

Check the painted/stained surfaces of your home's exterior annually. If you repaint before there is much chipping or wearing away of the original finish, you will save the cost of extensive surface preparation. It is a wise maintenance policy to plan on refinishing the exterior surface of your home approximately every two to four years (or as often as your paint manufacturer suggests for your area and climate).

The chemical structure of the paint used on the exterior is governed by the climatic conditions. Over a period of time, this finish will fade and dull a bit. Wood trim painted white or light colors will more readily show grain and cracks and will therefore require additional maintenance.

Do not allow sprinklers to spray water on the exterior painted walls of your home. This will cause blistering, peeling, splintering and other damage to the home.

Color names, numbers, and paint brands used in the original construction of your home may be provided with this Manual or are usually available upon request to the painting contractor involved in your homes construction.

#### Patios

Patios and other structures that you add to your home will not be the responsibility of your builder. We suggest that before you begin any addition to your home, you check with your local building officials. This is to make certain that your plans are in compliance with provincial and local building codes. It is likely that building permits will be required. A licensed contractor is best qualified to perform this work.

If you install patio covers, consult a professional for proper methods of affixing the covers to your house. Improperly-installed patio covers can cause water leaks which can result in severe damage to your home and its contents.

If you install patios or patio covers, you need to have them designed and installed in a manner which does not disrupt proper lot drainage and which will accommodate soil expansive movement, backfill settlement, lateral fill extension and/or “slope creep.” Please see and reference the Grading, Drainage and Landscaping sections of this Manual. You should consult with a professional engineer and contractor to make sure these issues are properly addressed.

#### Pests

New home construction on previously undeveloped land creates an environment that attracts many unwanted pests. Unwanted insect pests and rodents may enter any home at any time through open doors, unscreened louvers, etc.

Professional exterminators are recommended, especially in the case of insects.

Termites are a special problem and prevention is easier then eradication. Fight termite invasion by making sure the wooden portions of your home do not touch soil directly, and by keeping all exposed exterior wood painted. In certain areas, an annual professional termite inspection is a relatively inexpensive preventive measure.

If your yard includes slopes, gophers, ground squirrels, mice and other burrowing animals may be present. These animals can wreak havoc with slopes by creating tunnels or burrows. These burrows, while only a few inches in diameter, allow soil erosion to begin deep in your slope. During a rain or with the use of irrigation, water may enter the burrow and carry loose soil away. Over time, the burrow can enlarge and collapse, destroying your slope. It is important that a professional pest control expert be contacted for proper removal of burrowing animals.

During construction of nearby neighborhoods, other animals may attempt to invade your home. These may include coyotes, raccoons, skunks, mice, ants, birds, bees, snakes, and other wildlife. Your builder is not responsible for removal of these animals or for repair of any damage they cause.

#### Plumbing System

We recommend that you become familiar with your plumbing system as soon as you move in. You should know the location of the main shut off and individual shut offs in all the bathrooms and the kitchen. In the event of a plumbing emergency, you must close the main water shutoff for the house at once. Flowing water can cause severe damage to your home and its contents. The exact locations of all shutoffs in your house will be shown to you during your orientation walk through.

Please make certain that everyone in your household knows the locations of the main shutoff valves.

Other water shutoffs are located under the sinks in the bathrooms and the kitchen. Each toilet has a shutoff valve behind the toilet bowl. Another water shutoff is located on the top of the water heater. It controls the flow of water to the water heater and should be closed in the event of a leak in the water heater. You and others in your home should know where these water shutoffs are and how they work.

Each plumbing fixture in your home has a drain pipe specially designed to provide a water vapor barrier between your home and the sewer. The drain pipe or trap is the U-shaped area of pipe directly under the sink. The trap holds water which prevents the airborne bacteria and odor of sewer gas from entering your home. If any of your faucets are used infrequently, we suggest that they be turned on occasionally to replace the water in the trap lost to evaporation. Because of their shape, the traps are the most likely area to become clogged. Periodically check under kitchen and bathroom cabinets for leaks.

If you detect the odor of sewer gas from a sink after you have ensured there is water in the sink trap, contact a licensed plumbing contractor.

#### The following rules apply to your plumbing system:

Fiberglass or Acrylic Bathtub and Shower Stalls
Fiberglass or acrylics are lightweight materials which add beauty and style to bathroom tubs and showers. You can preserve the original high gloss finish by regular cleaning with a liquid soap or detergent. Do not use abrasive cleansers. Always rinse the walls and the door of the shower after each use.

Fixtures
Polished brass and other special finishes plumbing fixtures are susceptible to damage and staining if water is permitted to stand on the surfaces and by the use of an abrasive cleansing product. Most of the plumbing fixtures in your new home are plated with polished brass, bright chromium, or other finishes that are resistant to water corrosion. The plating materials forming these finishes are, however, relatively soft, and can be damaged with abrasive cleansers, scouring pads and tools. Clean the fixtures with warm soapy water and a soft sponge or cloth. Rinse with clear water and wipe dry to prevent spotting and soap buildup.

If water is permitted to accumulate and stand at the base of the fixtures, corrosion and tarnishing can result. Always wipe the area dry.

Hard water can spot and damage bright chromed plumbing fixtures. While this is not entirely preventable, you can minimize the staining and discoloration by drying the fixtures after each use.

Avoid using excessive force when you turn your faucets on and off. The seals in the faucets can be damaged by such abuse in a short time.

Faucets are equipped with aerators which mix air with the stream of water to prevent splashing. They need to be cleaned occasionally to remove a buildup of mineral deposits. When you notice that the stream of water has lessened, unscrew the aerator from the mouth of the faucet. Remove the debris and rinse the washers and screens. Replace the parts in their original order and screw the aerator onto the faucet. Perform this homeowner maintenance as needed, usually every few months.

Toilets
Toilets are made of vitreous china, a glasslike material that is highly resistant to staining. Clean your toilets with a toilet bowl cleaner and a brush or cloth. Vitreous china is brittle and will easily break or shatter if hit with a hard object.

Water conservation regulations have mandated the use of low flow or water-saving toilets in new homes. These toilets use less water so they are important elements in the area's water conservation program. However, at times you may notice an incomplete flush. When this happens, allow the tank to refill, and then repeat the flush. Feminine products, diapers and baby wipes should not be flushed in toilets.

Always keep a plumber's plunger on hand to use in the event of a stoppage of a toilet. If a stoppage occurs, close the shutoff valve on the back side of the toilet. Usually, a few vigorous pumps with the plunger will free the obstruction. Stoppages that are not construction related are the responsibility of the homeowner. If you are unable to clear the obstruction yourself, we suggest that you call a licensed plumbing contractor.

Most blockages in plumbing drains, including toilet drains, are progressive - they begin slowly and get worse over time until the drain is completely blocked. Use a plunger at the first sign of a slow drain. This simple step can prevent most serious drain blockages.

Do not use drain cleaners for toilets. The harsh chemicals in drain cleaners can damage the toilet seals and cause a leak.

If the flush valve fails or begins to leak, you can purchase a new flush valve at a home center or hardware store. If you are not entirely comfortable with this do-it-yourself project, a licensed plumbing contractor can perform this task.

Shower Doors/Tub Enclosures
Always rinse the walls and door of the shower after each use. Inspect every six months, or at any sign of leakage, for proper fit and for deterioration of the rubber "sweep" at the bottom of the door. Adjust the door and replace the sweep if necessary. At the same times, inspect the caulking, and re-caulk where any separations appear.

Water Heater
Your water heater is covered by a warranty from the manufacturer. Please read the operating instructions that the manufacturer provides.

Periodically, and no less frequently than every three months, check the area around the hot water heater for leaks. In the event of a leak in your water heater, turn off the water supply to the water heater, close the shutoff valve on the top of the water heater, and turn off its energy supply (gas supply line or electrical). Call the manufacturer listed on the front of the water heater to report.

If you discover you have no hot water, check the pilot, temperature setting, and water supply valve before calling for service. Refer to the manufacturer's literature for specific locations of these items and other "trouble shooting" information.

If the water temperature is not hot enough, adjust the temperature at the water heater by following the manufacturer's instructions, which are usually printed on the tank. If you have small children, do not set the temperature high enough that the children might accidentally burn themselves.

While some water heaters do not require additional insulation, we suggest that you consider an inexpensive water heater blanket when it is appropriate. This can save significantly on the cost of operating the water heater. These products are available at home center and hardware stores. Check the operating manual that came with your water heater before you add an insulating blanket.

Your water heater should be drained and flushed every six months, or otherwise as according to the manufacturer's suggestions. This simple procedure will remove accumulated silt and debris so that the water heater is efficient and durable.

Water Lines
Plumbing systems should be maintained by running water through each faucet for approximately one minute each week, to minimize stagnation.

In the event of water leaks, consider this advice:
Shut off the main water supply to the house. The shut-off is typically located in your home (often under the sink or at the supply line to the particular fixture), or else utilize the main house shutoff. The location of the shutoff valves will be pointed out to you during your orientation walk through. Individual shutoffs are located adjacent to the kitchen and bathroom sinks, the water heater, the washer outlet and the toilets. Use these shutoffs for local leaks.

Frozen Pipes
Keeping your home heated at a normal level will help prevent pipes from freezing. The heat should be set not lower than 65 degrees F if you are away during the winter months. If you are away for an extended period of time, drain your water supply lines. Garage doors should be closed to protect plumbing in that area. Maintain proper insulation levels. During periods of extreme cold (less than -15C), even properly installed and maintained pipes may freeze. If such extreme cold occurs, open cabinet doors to allow additional heat to reach the pipes, and turn on the faucets to a slight continuous drip to help reduce the possibility of frozen pipes. Never use an open flame to thaw frozen pipes. Always disconnect garden hoses before the outside temperature reaches freezing. Leaving the hoses connected may cause your pipes to burst when they freeze.

Clogged Drains
Many plumbing clogs are caused by improper garbage disposal use. Always use plenty of cold water when running the disposal. Supplied with a steady flow of cold water, grease congeals and is cut up by the blades. If you use hot water, grease remains a liquid, then cools and solidifies in the sewer line. Allow the water to run a minimum of 15 seconds after shutting off the disposal.

Clogged traps can usually be cleared with a plumber's helper (plunger). If you use chemical agents, follow directions carefully to avoid injury or damage to the fixtures or personal injury.

Clean a plunger drain stopper, usually found in bathroom sinks, by loosening the nut under the sink at the back, pull out the rod attached to the plunger and lift the stopper out. Clean and return the mechanism to its original position.

#### Roofs

The roof on your home may be made of concrete tile or other roofing materials, such as asphalt composition or cedar shake shingles. While all of these materials will provide years of service and weather protection for your home, a few reminders on the maintenance of your roof could save a great deal of expense and discomfort in the future.

Inspection of your roof by a roofing professional at least once per year, and after severe weather or upon any sign of water intrusion through the roof, is recommended.

Do not nail anything to your roof. Television antennas, cable dishes, and other potential attachments may not be allowed in your neighborhood, depending on the applicable municipal by-laws.

If allowed, any such attachment should only be made by a licensed roofer.

Remove fallen limbs and other debris from your roof promptly. If large limbs have fallen onto your roof, visually inspect the nearby tiles for signs of damage. Repairs should be made by a professional roofing contractor.

Rain gutters, downspouts, valleys and roof to wall flashings should be kept free of debris such as leaves, twigs, bird defecation, and litter. Bird defecation and other such debris can block drainage and cause water to pool on your roof, and can result in the deterioration of underlayment and other components of your roofing system.

Inspect the gutters, downspouts, valleys, roof to wall flashings, and vent pipe flashings at least once each year and after each heavy rain or windstorm. Downspouts should be directed so that erosion of the soil is prevented. Connection to a yard drainage system is strongly recommended.At least once per year, and after severe weather or upon any sign of water intrusion through the roof, you should have a maintenance inspection and “tune-up” of your roof by a roofing professional. Yearly inspections and maintenance by roofing professional will help prevent or eliminate conditions which commonly result in roof failures.

#### Settling

All homes settle to some degree. Some settling or adjustment in lumber and framing members is normal and should be expected. If moldings show slight joint separation, fill the cracks with wood filler. If nails work out of position, reset them with a hammer and nail set; then fill the holes with wood filler or spackle. Normal settling, expansion and contraction also may cause small interior wall cracks around doorways, archways, and at wallboard joints. The best time to fill and sand such cracks is when you repaint. It is best to wait at least two years before repairing minor cracks, until most of the settling and shrinkage is complete. If your home has lath and plaster, cracks and blemishes are common, and should be left alone for two years to allow for drying and curing before filling and repainting.

#### Smoke Detectors

One or more smoke detectors have been installed in your home. The type of smoke detector, the installation procedure and the location(s) of the smoke detector(s) are selected to meet the requirements of local and provincial building codes. Do not move or disable the smoke detector. If you feel the need for additional protection, consider purchasing additional smoke detectors to be installed at additional locations.

If your smoke detector requires batteries, the batteries should be replaced every year. You should conduct monthly testing of the smoke detector and other care or maintenance as provided in any manufacturer recommendations.

#### Stucco

Small cracks in stucco are normal. They should be patched and repaired whenever you repaint the exterior wood on your home. Stucco batches will vary in color.

Stucco can discolor from exposure to wind, rain, environmental pollutants and landscaping irrigation and improvements made after construction. Any cosmetic problems in the stucco must be reported to the builder immediately or they may not be covered by your warranty provider. Prompt landscaping can minimize the discoloration of stucco. Homeowners should consider cleaning of stucco by a professional as needed.

#### Sump Pump

If your home is equipped with a sump pump, you should check periodically (at least every three months) to confirm that that the pump is functioning properly. If the pump drains to an exterior location or drain outlet, you should be able to visually observe water being pumped out of the sump pump system during its operation. Improper functioning or inadequate maintenance may lead to a buildup of water in the crawlspace and/or basement. Regular and close observation of these conditions is important to help avoid water-related problems such as mold and/or incidental and consequential damages to personal property.

#### Walls

Your home has two types of interior walls: bearing and non-bearing. Non-bearing walls can be altered without structural damage, but alteration of a bearing wall must be done carefully to avoid reducing its bearing capacity. This should be done under the supervision of a licensed contractor.

Some slight cracking, nail "pops" and/or seams may become visible in plaster, gypsum wallboard, drywall or sheetrock walls and ceilings. These occurrences are caused by the shrinkage of the wood and normal deflection of rafters to which the sheetrock is attached, are considered normal, and are a maintenance responsibility of the homeowner. They can be repaired by filling with filling compound, smoothing with fine sandpaper, and then painting the entire surface. Popped nails do not alter the strength of the wall and should be left alone until time to repaint.

#### Water Conservation

In the home, water conservation saves both water and energy, since energy is needed to heat water and run appliances.

Every time a toilet is flushed, about 1.6 gallons of water goes into the sewer. Do not use the toilet for things that should go into the wastebasket.

A partially full tub uses far less water than a long shower, while a short shower uses less than a full tub.

Always load your dishwasher to capacity before turning it on. Most models use between 30 to 50 litres per run. The same rule applies to an automatic washer, which uses 40 or more gallons for each load.

Repair all faucet leaks promptly to avoid letting valuable water run down the drain. Just a slow drip can add up to 30 to 40 litres a day while 3mm faucet leak wastes 150 litres in 24 hours! Turn off the water while brushing your teeth or shaving to avoid wasting more water.

Outside the home, the basic principle of lawn and garden watering is not to give the grass and plants more than they need. Water only when plants show signs of needing moisture. Water in the cool of the day to avoid excessive evaporation. Use herbicides and fertilizers sparingly according to the direction on the original container and avoid use if rain is forecast.

Do not let the hose run while washing the car, use a bucket and biodegradable soap. Sweep down sidewalks and driveways rather than hosing them off. The storm drains are not connected to the sewer system and everything that enters goes into local waters.

#### Windows

Window glass should be cleaned with water and mild cleaning products designed for use on windows. Do not clean windows with solvents, abrasive pads, putty knives, or any products which can disintegrate the rubber gasket material. Doing so may result in deterioration of rubber gaskets and can result in leaks or fogging of dual pane windows. Do not clean windows with abrasive cleansers that may cause scratches.

Do not apply window tinting materials made of film to double-glazed windows and doors. The use of these materials can cause a buildup of heat between the panes of glass. This excessive heat will destroy the seals and permit water condensation to form between the panes.

Aluminum foil also causes a heat buildup between window panes and should not be used.

Window screens should be removed and cleaned every six months with water and a mild soap. Inspect window screens annually for holes, tears, or other deterioration. Window screens should be repaired or replaced when and if necessary.

Inspect the caulking and seals of your windows annually. Repair or replace missing caulk or damaged seals promptly. This will protect your windows. Window tracks and weep holes must be kept clean and free of debris, to facilitate proper drainage and to help prevent leaks and other problems resulting from standing water. See the discussion under "Aluminum and Vinyl Windows and Doors," below.

Inspect the interior and exterior paint on your window trim annually. Use touch up paint as required. Repaint every two years or as necessary.

#### Aluminum And Vinyl Window And Door Frames

Inspect the caulking and seals of your windows annually. Repair or replace missing caulk or damaged seals promptly. Inspect the interior and exterior paint on your window trim annually. Use touch up paint as required. Repaint every two years or as necessary. This will protect your windows.

Keep the window and door tracks free of dirt and debris. The tracks are soft and can become damaged if they are not kept clean. Use a broom or a brush to loosen collected debris. Vacuuming thoroughly should be a part of your regular cleaning routine. Avoid using abrasive cleaners as they may scratch or damage the aluminum or vinyl frame coating. After cleaning, apply paraffin (wax) to the locks and rollers to prevent corrosion. If windows and doors do not slide freely, an oil-free silicone lubricant can be used on the tracks. Do not use any oil-based lubricant. Oil attracts dust and dirt that become embedded in the lubricant and may damage the frames.

Window and door frames have small weep holes at the bottom to permit water to drain from the tracks. Keep the weep holes open and free of debris. Avoid flooding window and door frame tracks. Excessive water can overflow the track and back up into your home.

During high winds, air will penetrate your windows and door frames, especially through the weep holes. This is normal. The weep holes are necessary for proper ventilation and you should keep them clear at all times.
Window tinting may limit or void coverage under your window manufacturers’ Limited Warranty and/or cause damage with respect to the windows in your home.Window screens should be removed and cleaned every six months with water and a mild soap. Inspect window screens annually for holes, tears, or other deterioration. Window screens should be repaired or replaced when and if necessary.